### Closure In Place Form 2017

### Complete for Closure-In-Place, Out-Of-Service,

Change-In-Service, and After the Fact Closure Assessments

| Report Date: |  |  | Facility ID – Release No.: |  |
| --- | --- | --- | --- | --- |

Owner/Operator And Facility Data

| UST Owner Information: |  |  | Facility Information: |  |
| --- | --- | --- | --- | --- |
| Company: |  |  | Company: |  |
| Address: |  |  | Address: |  |
| City, State: |  |  | City, Zip: |  |
| Zip: |  |  | County: |  |
| Contact Person: |  |  | Latitude (decimal): |  |
| Contact Phone: |  |  | Longitude (dec): |  |
| Email: |  |  | Fire Department: |  |

| UST Operator Information: |  |  | Property Owner Information: |  |
| --- | --- | --- | --- | --- |
| Company: |  |  | Company: |  |
| Address: |  |  | Address: |  |
| City, State: |  |  | City, State: |  |
| Zip: |  |  | Zip: |  |
| Contact Person: |  |  | Contact Person: |  |
| Contact Phone: |  |  | Contact Phone: |  |
| Email: |  |  | Email: |  |

Site Activities

| Indicate which type of Closure Assessment was performed: |  |  |  |
| --- | --- | --- | --- |
| Closure-in-place | Out-of-service | Change in service | After the fact |

List activities and describe the portion(s) of the system(s) being evaluated:

| Date The UST Was Last Used: |  |  |
| --- | --- | --- |
| Person (Company) That Last Used the UST: |  |  |

Closure Conclusions

| Select one of the following: |  |
| --- | --- |
|  | A Tier 1 Source Investigation is required |
|  | No Further Action is requested |

Underground Storage Tank (UST) System Data

| Tank # | Date Installed | Capacity | Product | Const. Material | Tank Status* | Date Removed |
| --- | --- | --- | --- | --- | --- | --- |

*STATUS: CIP = Closed-in-Place, CIS = Change-in-Service, CIU = Currently-In-Use, R = Removed, RE = Replaced, 
OOS<90 = Out-of-Service < 90 days, OOS>90 = Out-of-Service > 90 days, OOS>12 = Out-of-Service > 12 months

Closure Sampling

CHEMICALS OF CONCERN (Analytical Group):. Group 1; Group 2; Group 3; Group 4; Group 5. If Group 5, explain:..

Soil borings installed during this investigation:

Monitoring wells installed during this investigation:

| SB/MW | Install Date | MW Diameter | Installed With* | Total Depth | Depth to GW | Depth to Bedrock | Screened Interval |
| --- | --- | --- | --- | --- | --- | --- | --- |

* HSA/SS = Hollow stem auger / split spoon, DP = Direct push, HA = Hand auger

Field Screening

| Instrument used: |  |
| --- | --- |

Methodology:

Calibration procedure:

| SB/MW# |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Depth | PID/FID (ppm) | PID/FID (ppm) | PID/FID (ppm) | PID/FID (ppm) | PID/FID (ppm) | PID/FID (ppm) | PID/FID (ppm) | PID/FID (ppm) |
| 0-2’ |  |  |  |  |  |  |  |  |
| 2-4’ |  |  |  |  |  |  |  |  |
| 4-6’ |  |  |  |  |  |  |  |  |
| 6-8’ |  |  |  |  |  |  |  |  |
| 8-10’ |  |  |  |  |  |  |  |  |
| 10-12’ |  |  |  |  |  |  |  |  |
| 12-14’ |  |  |  |  |  |  |  |  |
| 14-16’ |  |  |  |  |  |  |  |  |
| 16-18’ |  |  |  |  |  |  |  |  |
| 18-20’ |  |  |  |  |  |  |  |  |
| 20-22’ |  |  |  |  |  |  |  |  |
| 22-24’ |  |  |  |  |  |  |  |  |
| 24-26’ |  |  |  |  |  |  |  |  |
| 26-28’ |  |  |  |  |  |  |  |  |
| 28-30’ |  |  |  |  |  |  |  |  |
| 30-32’ |  |  |  |  |  |  |  |  |
| 32-34’ |  |  |  |  |  |  |  |  |
| 34-36’ |  |  |  |  |  |  |  |  |
| 36-38’ |  |  |  |  |  |  |  |  |
| 38-40’ |  |  |  |  |  |  |  |  |
| 40-42’ |  |  |  |  |  |  |  |  |
| 42-44’ |  |  |  |  |  |  |  |  |
| 44-46’ |  |  |  |  |  |  |  |  |
| 46-48’ |  |  |  |  |  |  |  |  |
| 48-50’ |  |  |  |  |  |  |  |  |
| GW Depth |  |  |  |  |  |  |  |  |

NOTE: The intervals of samples submitted for analysis should be indicated in bold

Soil Classification

Select one of the following:

Soil Class 1 (USCS soil symbols GW, GP, GM, GC, SW, SP, SM)

NOTE: Geotechnical laboratory analysis documentation must be provided if soil class 2 or 3 is selected.

Soil Class 2 (USCS soil symbols SC, ML, CL, OL, MH)

Soil Class 3 (USCS soil symbols CH, OH, PT)

Laboratory Data

| Laboratory Name: |  |  |
| --- | --- | --- |
| Address: |  |  |
| Phone #: |  |  |
| Accreditation (List at least one): |  |  |

| Date samples received by lab: |  |
| --- | --- |
| Temperature of cooler: |  |
| Date samples analyzed by lab: |  |
| Test methods: |  |

Site Maximum Concentrations

| Chemical of Concern | SOIL |  |  |  | GROUND WATER |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | SB | Depth | Conc. (mg/kg) | Action Level | MW | Conc. (mg/L) | Action Level |
| Benzene |  |  |  | 0.246 |  |  | 0.005 |
| Toluene |  |  |  | 70.7 |  |  | 1 |
| Ethylbenzene |  |  |  | 84.5 |  |  | 0.7 |
| Total Xylenes |  |  |  | 42.7 |  |  | 10 |
| Naphthalene |  |  |  | 0.511 |  |  | 0.0014 |
| 1,2,4 Trimethyl Benzene |  |  |  | 2.37 |  |  | 0.015 |
| MTBE |  |  |  | 1.58 |  |  | 0.12 |
| 1,2 - Dibromoethane (EDB) |  |  |  | 0.000982 |  |  | 0.00005 |
| 1,2 - Dichloroethane (EDC) |  |  |  | 0.101 |  |  | 0.005 |
| Benzo (a) Anthracene |  |  |  | 12 |  |  | 0.00092 |
| Benzo (a) Pyrene |  |  |  | 1.2 |  |  | 0.0002 |
| Benzo (b) Fluoranthene |  |  |  | 12 |  |  | 0.00092 |
| Benzo (k) Fluoranthene |  |  |  | 120 |  |  | 0.0092 |
| Chrysene |  |  |  | 1,200 |  |  | 0.092 |
| Dibenz (a,h) Anthracene |  |  |  | 1.2 |  |  | 0.000092 |
| Indeno (1,2,3-cd) Pyrene |  |  |  | 12 |  |  | 0.00092 |
| TPH (C6-C12) |  |  |  | 1,000 | N/A | N/A | N/A |
| TPH (C10-C20) |  |  |  | 2,000 | N/A | N/A | N/A |
| TPH (C20-C34) |  |  |  | 5,000 | N/A | N/A | N/A |
| Other: |  |  |  |  |  |  |  |

NOTES:

Soil results are to be reported on a dry weight basis

Where concentrations are less than detection limits, indicate the detection limit (e.g. < 0.005)

If action levels are exceeded, conduct a Tier 1 Source Investigation pursuant to OAC 1301:7-9-13(H)

Personnel & Owner / Operator Signature

| Certified Fire Safety Inspector: |  |  | Certified Installer: |  |
| --- | --- | --- | --- | --- |
| Name: |  |  | Name: |  |
| Company: |  |  | Company: |  |
| Address: |  |  | Address: |  |
| City, State, Zip: |  |  | City, State, Zip: |  |
| Phone: |  |  | Phone: |  |
| Email: |  |  | Email: |  |
| ID #: |  |  | ID #: |  |

| Form Prepared By: |  |
| --- | --- |
| Name: |  |
| Company: |  |
| Street Address: |  |
| City, State, Zip: |  |
| Phone #: |  |
| Email: |  |

This Form must be signed by the UST owner/operator.  The owner/operator is responsible for ensuring all data is accurate, and the form is legible and complete.

| Owner / Operator Signature: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Print Name: |  |  | Date: |  |

Miscellaneous Data

Additional information which is required by OAC 1301:7-9-12 or additional information which clarifies the investigation activities shall be submitted as appendices.

- TABLES:

- Table 1	Soil Concentrations Compared to Action Levels

- Table 2	Groundwater Concentrations Compared to Action Levels

- FIGURES:

- Figure 1	Topographic Map

- Figure 2	Site Map

Figure 3	Site Map with soil boring locations, concentrations, and sample depths

Figure 4	Site Map with monitoring wells and groundwater concentrations

note:

aerial photographs should not be used as the base map for these figures due to reproducibility issues.

- APPENDIX:

- Appendix A	Permit/Approval Documentation

- Appendix B	Soil Boring Logs

- Appendix C	Monitoring Well Construction Diagrams

Appendix D	Monitoring Well Development & Sampling Forms

Appendix E	Soil Classification Form

Appendix F	Laboratory Analytical Report

Appendix G	Laboratory Summary Form

Appendix H	Accredited Laboratory Documentation

Appendix I	Chain of Custody

Appendix J	Photographs

Appendix K	Field Inspection Report

- Chemicals of concern and recommended laboratory methods

Analytical Group 1: Light distillate products including unleaded gasoline, leaded gasoline, gasoline blended with alcohol, racing fuel, and aviation gasoline

Analytical Group 2: Middle distillate products including diesel, biodiesel blended with diesel, light fuel oils, stoddard solvents, mineral spirits, kerosene, and jet fuels

Analytical Group 3: Heavy petroleum distillate products including, but not limited to, lubricating and hydraulic oils

- Analytical Group 4: Used oil

Analytical Group 5: Unknown petroleum products or petroleum products other than those listed in analytical groups 1, 2, 3 and 4. Additional chemical(s) of concern and analytical methods must be selected, as appropriate, based on reasonably available information related to the product stored, including additives, impurities and degradation products.  In addition, chemical(s) of concern should be selected based on their toxicity, mobility, and persistence in the environment.  The owners and operators shall consult with the state fire marshal for the appropriate chemical(s) of concern for products not in analytical group 1, 2, 3 and 4.

|  | Analytical Group Number | 1 | 2 | 3 | 4 | 5 | Analytical Methods7 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Light Distillates | Middle Distillates | Heavy Distillates | Used Oil | Unknowns & Others | Soil 4 | Groundwater |
|  | Chemical |  |  |  |  |  | 8021, 8260 |  |
| Aromatics | Benzene | x | x |  | x |  |  |  |
|  | Toluene | x | x |  | x |  |  |  |
|  | Ethylbenzene | x | x |  | x |  |  | 8021, 8260 |
|  | o, m and p-Xylenes | x | x |  | x |  |  |  |
|  | Naphthalene | x |  |  | x |  |  |  |
|  | 1,2,4 - Trimethylbenzene | x |  |  | x |  |  |  |
| Additives | (MTBE) | x |  |  | x |  | 8021,8260 | 8021, 8260 |
|  | 1,2 – Dibromoethane (EDB) 5,6 | x |  |  | x |  | 8260 | 8011 |
|  | 1,2 – Dichloroethane (EDC) 5,6 | x |  |  | x |  | 8260 | 8260 |
| Polynuclear Aromatics | Benzo(a)anthracene |  | x | x | x |  | 8270, 8310 | 8270, 8310 |
|  | Benzo(a)pyrene |  | x | x | x |  |  |  |
|  | Benzo(b)fluoranthene |  | x | x | x |  |  |  |
|  | Benzo(k)fluoranthene |  | x | x | x |  |  |  |
|  | Chrysene |  | x | x | x |  |  |  |
|  | Dibenz(a,h)anthracene |  | x | x | x |  |  |  |
|  | Indeno(1,2,3-c,d)pyrene |  | x | x | x |  |  |  |
|  | Naphthalene |  | x | x | x |  |  |  |
| Chlorinated Hydrocarbons | Volatile Organic Hydrocarbons |  |  |  | x |  | 8260 | 8260 |
| Total Petroleum Hydrocarbons 1 | TPH (C6 – C12) | x |  |  | x |  | 8015 | N/A |
|  | TPH (C10 – C20) |  | x |  | x |  |  |  |
|  | TPH (C20 – C34) |  |  | x | x |  |  |  |
|  | Varies based on UST contents 2 |  |  | x | x | x 3 |  |  |

1  TPH analysis is not required for  groundwater samples.

2 Additional chemicals of concern should be based on Material Safety and Data Sheets (MSDS) and analyzed with an appropriate laboratory test method capable of meeting established target levels.

3  Refer to paragraph (H)(1)(c)(v).

4  Soil analytical results shall be reported on a dry weight basis.

5  EDB and EDC shall be analyzed for automotive gasoline USTs that were in service prior to January 1, 1996.

6  EDB and EDC shall be analyzed for all USTs containing aviation gasoline, racing fuel, and used oil.

7 Alternate laboratory methods will be considered if the methods meet the quality control, performance and method detection level requirements.

| ## BUSTR CLOSURE ACTION LEVELS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Chemicals of Concern | Soil Action Levels |  |  | ## Water | PCS Re-use |
|  | Class 1 Soils | Class 2 Soils | Class 3 Soils |  |  |
| Benzene | 0.246 | 0.437 | 1.63 | 0.005 | 0.024 |
| Toluene | 70.7 | 168 | 850 | 1 | 7.07 |
| Ethylbenzene | 84.5 | 130 | 130 | 0.7 | 8.45 |
| Total Xylenes | 42.7 | 51.8 | 63.5 | 10 | 42.7 |
| Naphthalene | 0.511 | 1.12 | 4.99 | 0.0014 | 0.051 |
| 1,2,4 Trimethylbenzene | 2.37 | 5.89 | 7.99 | 0.015 | 0.237 |
| MTBE | 1.58 | 2.67 | 11.5 | 0.12 | 0.158 |
| 1,2 - Dibromoethane (EDB) | 0.000982 | 0.00177 | 0.00734 | 0.00005 | 0.000982 |
| 1,2 - Dichloroethane (EDC) | 0.101 | 0.177 | 0.714 | 0.005 | 0.0101 |
| Benzo(a)anthracene | 12 | 12 | 12 | 0.00092 | 12 |
| Benzo(a)pyrene | 1.2 | 1.2 | 1.2 | 0.0002 | 1.2 |
| Benzo(b)flouranthene | 12 | 12 | 12 | 0.00092 | 12 |
| Benzo(k)flouranthene | 120 | 120 | 120 | 0.0092 | 120 |
| Chrysene | 1,200 | 1,200 | 1,200 | 0.092 | 1,200 |
| Dibenz(a,h)anthracene | 1.2 | 1.2 | 1.2 | 0.000092 | 1.2 |
| Indeno(1,2,3-cd) pyrene | 12 | 12 | 12 | 0.00092 | 12 |
| TPH C6-C12 | 1,000 | 5,000 | 8,000 | - | 1,000 |
| TPH C10-C20 | 2,000 | 10,000 | 20,000 | - | 2,000 |
| TPH C20-C34 | 5,000 | 20,000 | 40,000 | - | 5,000 |

Soil contaminant levels in mg/kg
Water contaminant levels in mg/L

Note: Geotechnical lab analysis must be provided if soil class 2 or 3 are used

Laboratory Analysis QA/QC Summary Form (To be included with each laboratory chemical analysis report)

Sample Receipt

| Was the chain of custody present for all samples? | Yes No |
| --- | --- |
| Sampler name included? | Yes No |
| Sampler signature included? | Yes No |
| Sample date included? | Yes No |
| Sample time included? | Yes No |
| List the preservation method(s): |  |
| List the cooler temperature upon receipt: | oF oC |
| Was headspace present in any sample vials? | Yes No NA |
| Were the soil sample containers filled? | Yes No NA |
| Were sample containers tightly sealed? | Yes No |
| Were the correct laboratory containers used? | Yes No |

Sample Analysis

| Were all analysis performed using SW-846 & ASTM methods? If not, identify the other methods used: | Yes No |
| --- | --- |
| Were dates of sample extraction provided? | Yes No |
| Were the matrix spike results within the control limit range established by the USEPA? | Yes No |
| Were surrogate recoveries within the control limit range established by the USEPA? | Yes No |
| Were control samples used to establish appropriate control limits for precision and bias? | Yes No |
| Were instrument blanks, calibration standards, and method blanks submitted and analyzed? | Yes No |
| Were matrix spike samples analyzed and either matrix spike duplicates or matrix duplicate samples analyzed? | Yes No |
| Were the following QC samples used for each analytical batch: |  |
| Lab control samples | Yes No |
| Method blanks | Yes No |
| Matrix spikes | Yes No |
| Matrix spike duplicates or matrix duplicates | Yes No |
| Were there any problems noted with surrogate recovery, % recovery, or % RSD? If so, list sample IDs: | Yes No |
| Were there any data qualifiers noted by the lab? If so, list sample IDs: | Yes No |

Lab Certification

| Is the laboratory affiliated with the sampling company? | Yes No |
| --- | --- |
| Check lab certification that applies: Ohio EPA DDGW Ohio EPA VAP NELAP A2LA Other (list): |  |

Completed by

| Print Name of Lab Representative and Title: | Signature Date |
| --- | --- |