### Immediate Corrective Actions Form 2017

| Report Date: |  |  | Facility ID – Release No.: |  |
| --- | --- | --- | --- | --- |

Owner/Operator And Facility Data

| UST Owner Information: |  |  | Facility Information: |  |
| --- | --- | --- | --- | --- |
| Company: |  |  | Company: |  |
| Address: |  |  | Address: |  |
| City, State: |  |  | City, Zip: |  |
| Zip: |  |  | County: |  |
| Contact Person: |  |  | Latitude (decimal): |  |
| Contact Phone: |  |  | Longitude (dec): |  |
| Email: |  |  | Fire Department: |  |

| UST Operator Information: |  |  | Property Owner Information: |  |
| --- | --- | --- | --- | --- |
| Company: |  |  | Company: |  |
| Address: |  |  | Address: |  |
| City, State: |  |  | City, State: |  |
| Zip: |  |  | Zip: |  |
| Contact Person: |  |  | Contact Person: |  |
| Contact Phone: |  |  | Contact Phone: |  |
| Email: |  |  | Email: |  |

Immediate Corrective Action (ICA) Activities

| Date & time of release discovery: |  |
| --- | --- |

Overview of activities leading towards discovery of free product (How was the release discovered):

Type, volume, and location (specific tank, line, dispenser, etc.) of product released:

Description of completed ICA activities:

Description of any additionally planned ICA activities:

Amount and disposition of any materials generated (e.g., soil and liquids):

Leak Autopsy

| POTENTIAL RELEASE SOURCE(S): |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Tank |  | Piping |  | Dispenser |  | Submersible Pump |
|  | Delivery Problem |  | Unknown |  | Other (List) |  | N\A |
| List specific sources (piping elbow, flex line, shear valve, fill port, etc.): |  |  |  |  |  |  |  |

| POTENTIAL CAUSE OF RELEASE: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Spill |  | Overfill |  | Corrosion |  | Install Problem |  | N\A |
|  | Physical / Mechanical Damage or Failure |  |  |  |  |  | Unknown |  | Other (List) |
| List specific causes (vehicle strike, material incompatibility, component not installed to specs, etc.): |  |  |  |  |  |  |  |  |  |

Underground Storage Tank (UST) System Data

| Tank # | Date Installed | Capacity | Product | Const. Material | Tank Status* | Date Removed |
| --- | --- | --- | --- | --- | --- | --- |

STATUS: CIP = Closed-in-Place, CIS = Change-in-Service, CIU = Currently-In-Use, R = Removed, RE = Replaced, 
OOS<90 = Out-of-Service < 90 days, OOS>90 = Out-of-Service > 90 days, OOS>12 = Out-of-Service > 12 months

Form Preparer & Owner / Operator Signature

| Form Prepared By: |  |
| --- | --- |
| Name: |  |
| Company: |  |
| Street Address: |  |
| City, State, Zip: |  |
| Phone #: |  |
| Email: |  |

The Immediate Corrective Actions Form must be signed by the UST owner/operator.  The owner/operator is responsible for ensuring all data is accurate, and the form is legible and complete.

| Owner / Operator Signature: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Print Name: |  |  | Date: |  |

Miscellaneous Data

Additional information which is required by OAC 1301:7-9-13 or additional information which clarifies the investigation activities shall be submitted as appendices.

- Tables:

- Table 1	Soil Concentrations Compared to Action & Delineation Levels

- Table 2	Ground Water Concentrations Compared to Action & Delineation Levels

Table 3	Monitoring Well Gauging Data

- Figures:

- Figure 1	Topographic Map

- Figure 2	Site Map: Property boundaries, street names, site features (structures, UST system, etc.), and location of the release

Figure 3	Area Map: Adjoining properties with addresses and site features, utilities, surface water bodies, and location(s) of impact

note:

aerial photographs should not be used as the base map for these figures due to reproducibility issues.

- Appendix:

Appendix A	Photographs

Appendix B	Miscellaneous: Additional documentation of ICA activities (Manifests, vacuum truck readings, field notes, etc.)