Laboratory Analysis QA/QC Summary Form

(To be included with each laboratory chemical analysis report)

Sample Receipt

| Was the chain of custody present for all samples? | Yes No |
| --- | --- |
| Sampler name included? | Yes No |
| Sampler signature included? | Yes No |
| Sample date included? | Yes No |
| Sample time included? | Yes No |
| List the preservation method(s): |  |
| List the cooler temperature upon receipt: | oF oC |
| Was headspace present in any sample vials? | Yes No NA |
| Were the soil sample containers filled? | Yes No NA |
| Were sample containers tightly sealed? | Yes No |
| Were the correct laboratory containers used? | Yes No |

Sample Analysis

| Were all analysis performed using SW-846 & ASTM methods? If not, identify the other methods used: | Yes No |
| --- | --- |
| Were dates of sample extraction provided? | Yes No |
| Were the matrix spike results within the control limit range established by the USEPA? | Yes No |
| Were surrogate recoveries within the control limit range established by the USEPA? | Yes No |
| Were control samples used to establish appropriate control limits for precision and bias? | Yes No |
| Were instrument blanks, calibration standards, and method blanks submitted/analyzed? | Yes No |
| Were matrix spike samples analyzed and either matrix spike duplicates or matrix duplicate samples analyzed? | Yes No |
| Were the following QC samples used for each analytical batch: |  |
| Lab control samples | Yes No |
| Method blanks | Yes No |
| Matrix spikes | Yes No |
| Matrix spike duplicates or matrix duplicates | Yes No |
| Were there any problems noted with surrogate recovery, % recovery, or % RSD? If so, list sample IDs: | Yes No |
| Were there any data qualifiers noted by the lab? If so, list sample IDs: | Yes No |

Lab Certification

| Is the laboratory affiliated with the sampling company? | Yes No |
| --- | --- |
| Check lab certification that applies: Ohio EPA DDGW Ohio EPA VAP NELAP A2LA Other (list): |  |

Completed by

| Print Name of Lab Representative and Title: | Signature Date |
| --- | --- |